Course Objectives

This holistic, six-week course teaches Time Delay Spectrometry (TDS) principles and how to implement them in a research laboratory or from your own home. At the end of six weeks, you will understand the theory of TDS and know how to design a TDS system. Additionally, you will be able to apply TDS to relevant portions of your own applications which could range from designing acoustics to analyzing radiofrequency signals.

Course Description

Content
This course is designed for remote use through prerecorded lectures and experiments that can be done at home. The lectures are designed to provide enough theory and information to support the experiments. The lectures have skill checks to reinforce the presented material. Weekly live sessions are interactive and focused on discussing the experiments, general concepts, and answering questions. This course is designed for undergraduates in a bioengineering field, researchers of signal processing and RF communication interested in expanding their skill set, or researchers of ultrasound wanting to better incorporate TDS. There will be extensive use of software defined radio’s (SDRs) and the use of the software GNU Radio. The suggested background knowledge for the course is high school physics, high school calculus, and a familiarity with Fourier transforms. Additionally a familiarity with Python is assumed.

Schedule
Although the course can be completed self-paced, to integrate in synchronized weekly discussions the course is divided into weekly segments for both lecture topics and experiments.

Grading/Certification
Currently this course is not graded and no certifications are given.

Lectures
Lectures cover the topics described in the course schedule and are available on YouTube. The lectures are divided into short ten to fifteen-minute segments with optional skill check videos to reinforce concepts. The skill checks are either worked numeric problems or multiple-choice questions.

Experiments

Overview
Experiments are the critical component of the course. They provide a platform to apply TDS concepts and extend material learned in the lectures to real scenarios. The experiments are prerecorded and can be either observed or performed and extended. The software used in the course is publicly available, and all the experiments can be conducted at home. Many of the course’s experiments require hardware components. The course was designed to use the lowest-cost components to effectively demonstrate the course objectives. The hardware used for each experiment is listed in the “Experiment Schedule” section, and information on purchasing the equipment is given in the “Hardware for Experiments” section.

Software for Experiments
The experiments use a software combination of GNU Radio 3.8, Audacity, and Jupyter notebooks running Python. This software can be setup individually or can be downloaded as a virtual machine running VMWare Player. VMWare Player can be used for free for personal, non-commercial use.

Audience: Automotive, antennas and propagation, aerospace (sensors council), signal processing, test and measurement, EMBS

Weekly Schedule
Week 1: Why TDS (Part 1)? / This week we introduce TDS talk about what it is used for in automotive collision avoidance and medical. We do not discuss the waveform details. Examples such as radar guns used by police are given to illustrate the topics. We talk about energy moving and that it can / Why use TDS over its competitors? / What is it currently used for? / Take away how to utilize TDS or have a better understanding of TDS / Give an example of the TDS application. Our approach to the students is to minimize the setup and configuration of the labs. This allows students to focus on gaining a better understand of TDS and how to possibly student utilization of TDS. / Understanding of TDS and 25,000 foot view of the operational view of the system. Give the real world examples of it being used.
Week 2: Why TDS (Medical)? / Talk about the medical history, then current and future, what is the future
Week 2: Components in a TDS system / Talk about the common components in a TDS system for both transmission and reception. Focus on the input/outputs and only a high level description of the internals.
Week 3: How TDS measures / This week we introduce how TDS is able to find the range and velocity and impedance of an object without the math. Graphical illustrations of the waves and the process. Relating these to the previous weeks internal components. Also show how it applies to medical imaging.
Week 4: How to calculate with TDS / This week talk about how to calculate the range and velocity of an object with TDS. Learning just enough math to do the calculations. This will go from designing the waveform to using it in the calculations.
Week 5: TDS performance constraints and limitations / This week we demonstrate how real-world design affects the performance and capabilities of a TDS system. We examine what happens with different types of swept frequency profiles and compare linear and stepped frequency profiles. Additionally, we look at what happens when noise is added into the system and how the design of a transducer can change performance.
Week 6: Designing a TDS solution (1 of 2) / This week we combine the previous five weeks to design a medical ultrasound TDS system based on a typical set of user requirements. The design for each part of the system will be analyzed and the design specifications will be specified. / Assigning project
Week 7: Designing a TDS solution (2 of 2) / Answering questions and review WIP and debugging of student projects / This week we examine how the previous week’s system designs can be implemented using commercial off-the-shelf components. The process is broken into two parts: comparing the capabilities of off-the-shelf solutions with the previous week’s design blocks, and then constructing the systems based on the blocks. We will compare the final performance with the initial specifications.
Week 8: Presentations / This week we conclude the course by investigating what are upcoming challenges for TDS / Week 9: Presentations wrap up and closing remarks

Experiment Schedule
Week 1: / Introducing Jupyter notebooks and GNU Radio / Simulating a chirp in Python / Understanding how instantaneous bandwidth impacts maximum range measurements
Week 2: / Measuring velocity and range of a target / Measuring distance with sound in the great outdoors
Week 3: / Comparing a linear chirp and stepped chirp / Simulating how noise degrades a system / Comparing real world data with synthetic data
Week 4: / Designing a low-cost TDS system with RTL-SDRs and GNU Radio using Python
Week 5: / Building a low-cost TDS system with RTL-SDRs and GNU Radio
Week 6: / Evaluating designs for your application in Python