Course Objectives

This holistic, six-week course teaches Time Delay Spectrometry (TDS) principles and how to implement them in a research laboratory or from your own home. At the end of six weeks, you will understand the theory of TDS and know how to design a TDS system. Additionally, you will be able to apply TDS to relevant portions of your own applications which could range from designing acoustics to analyzing radiofrequency signals.

Course Description

Content
This course is designed for remote use through prerecorded lectures and experiments that can be done at home. The lectures are designed to provide enough theory and information to support the experiments. The lectures have skill checks to reinforce the presented material. Weekly live sessions are interactive and focused on discussing the experiments, general concepts, and answering questions. This course is designed for undergraduates in a bioengineering field, researchers of signal processing and RF communication interested in expanding their skill set, or researchers of ultrasound wanting to better incorporate TDS. There will be extensive use of software defined radio’s (SDRs) and the use of the software GNU Radio. The suggested background knowledge for the course is high school physics, high school calculus, and a familiarity with Fourier transforms. Additionally a familiarity with Python is assumed.

Schedule
Although the course can be completed self-paced, to integrate in synchronized weekly discussions the course is divided into weekly segments for both lecture topics and experiments.

Grading/Certification
Currently this course is not graded and no certifications are given.

Lectures
Lectures cover the topics described in the course schedule and are available on YouTube. The lectures are divided into short ten to fifteen-minute segments with optional skill check videos to reinforce concepts. The skill checks are either worked numeric problems or multiple-choice questions.

Experiments

Overview
Experiments are the critical component of the course. They provide a platform to apply TDS concepts and extend material learned in the lectures to real scenarios. The experiments are prerecorded and can be either observed or performed and extended. The software used in the course is publicly available, and all the experiments can be conducted at home. Many of the course’s experiments require hardware components. The course was designed to use the lowest-cost components to effectively demonstrate the course objectives. The hardware used for each experiment is listed in the “Experiment Schedule” section, and information on purchasing the equipment is given in the “Hardware for Experiments” section.

Software for Experiments
The experiments use a software combination of GNU Radio 3.8, Audacity, and Jupyter notebooks running Python. This software can be setup individually or can be downloaded as a virtual machine running VMWare Player. VMWare Player can be used for free for personal, non-commercial use.

Hardware for Experiments
Depending on the experiments you are interested in completing your equipment costs can range from $0 - $400, with an average being $100. The highest priced item is the HackRF SDR. Generic versions can be purchased on EBay in the $160 dollar range, however the quality is unknown and they are not made by the creator, Great Scott Gadgets. The “Experiment Schedule” lists equipment used for particular experiments. You can purchase equipment through a variety of vendors. Below is a list of equipment with a known vendor and approximate cost for each:

- 6-Feet Aux Cord, 3.5mm Male to Male Stereo Auxiliary Audio Cable: Amazon: $8
- USB sound card: Amazon: $15
- 2 RTL-SDRs v3: Amazon: $25 each
- TI C2000 Delfino MCU F28379D LaunchPad development kit: TI $33
- HackRF SDR: Sparkfun: $300
- Piezoelectric disks, STEMiNC, $13
.

Reading List

The reading material is a necessary component of the course. Specific articles should be read on specific days.

Battaglini, Luigi, Pietro Burrascano, Alessio De Angelis, Antonio Moschitta, and Marco Ricci. 2014. “A Low-Cost Ultrasonic Rangefinder Based on Frequency Modulated Continuous Wave.” In Proc. 20th IMEKO TC4 Int. Symp, 1124–1126.
Gammell, Paul. 1984. “Coherent Processing of the Full Analytic Signal Information of Ultrasonic Signals.” International Advances in Nondestructive Testing 10: 183–266.
Gammell, Paul M., Subha Maruvada, and Gerald R. Harris. 2007. “An Ultrasonic Time-Delay Spectrometry System Employing Digital Processing.” IEEE Transactions on Ultrasonics, Ferroelectrics, and Frequency Control 54 (5): 1036–44. https://doi.org/10.1109/tuffc.2007.349.
Kunita, Masanori, Masamitsu Sudo, and Takashi Mochizuki. 2008. “Range Measurement Using Ultrasound FMCW Signals.” In 2008 IEEE Ultrasonics Symposium, 1366–69. https://doi.org/10.1109/ULTSYM.2008.0331.
Kunita, Masanori, Masamitsu Sudo, Shinya Inoue, and Mutsuhiro Akahane. 2010. “A New Method for Blood Velocity Measurements Using Ultrasound FMCW Signals.” IEEE Transactions on Ultrasonics, Ferroelectrics, and Frequency Control 57 (5): 1064–76. https://doi.org/10.1109/TUFFC.2010.1518.
Tarbox, Elizabeth, Nima Akhlaghi, Ananya S. Dhawan, Biswarup Mukherjee, Paul Gammell, Parag Chitnis, and Siddhartha Sikdar. 2017. “Low-Power Ultrasound Imaging Systems Using Time Delay Spectrometry.” In 2017 IEEE International Ultrasonics Symposium (IUS), 1–4. https://doi.org/10.1109/ULTSYM.2017.8092322.
Thurn, Karsten, Randolf Ebelt, and Martin Vossiek. 2013. “Noise in Homodyne FMCW Radar Systems and Its Effects on Ranging Precision.” In 2013 IEEE MTT-S International Microwave Symposium Digest (MTT), 1–3. https://doi.org/10.1109/MWSYM.2013.6697654.

Weekly Schedule
Week 1: Range finding and transducer frequency characterization with TDS / This week we introduce TDS and show how TDS can be used to find the distance of an object from the transducer using frequency mixing. Once the range is known, the transducer’s frequency profile can also be determined using TDS. / Videos / Range Estimation (23 min) / The Phase of the IF Signal (17 min) / Reading / (Gammell, Paul 1984), pages 1-43
Week 2: Velocity and small motion measurement with TDS / This week we build on the previous week by examining how TDS can be used to calculate the velocity of an object using multiple range estimates. Additionally, TDS provides a mechanism to measure very small motions of an object, which are useful for vibration analysis. / Videos / Velocity Estimation (14 min) / Reading / (Gammell, Maruvada, and Harris 2007) / (Kunita et al. 2010)
Week 3: TDS performance constraints and limitations / This week we demonstrate how real-world design affects the performance and capabilities of a TDS system. We examine what happens with different types of swept frequency profiles and compare linear and stepped frequency profiles. Additionally, we look at what happens when noise is added into the system and how the design of a transducer can change performance. / Videos / System Design Topics (17 min) / Reading / (Thurn, Ebelt, and Vossiek 2013)
Week 4: TDS system design / This week we combine the previous three weeks to design three different TDS systems based on a typical set of user requirements. The design for each part of the system will be analyzed and the design specifications will be specified. / Reading / (Tarbox et al. 2017) / (Battaglini et al. 2014) / (Kunita, Masamitsu Sudo, and Takashi Mochizuki 2008)
Week 5: Building a TDS system / This week we examine how the previous week’s system designs can be implemented using commercial off-the-shelf components. The process is broken into two parts: comparing the capabilities of off-the-shelf solutions with the previous week’s design blocks, and then constructing the systems based on the blocks. We will compare the final performance with the initial specifications.
Week 6: Designing a TDS solution / This week we conclude the course by investigating how to take the techniques learned in the previous weeks to compose a toolbox that you can then use for your own applications.

Experiments and Example Schedule
Week 1: Range finding and transducer frequency characterization with TDS / Introducing Jupyter notebooks and GNU Radio / Simulating a chirp in Python / Generating a chirp in GNURadio / Understanding how instantaneous bandwidth impacts maximum range measurements
Week 2: Velocity and small motion measurement with TDS / Measuring velocity and range of a target / Measuring distance with sound in the great outdoors
Week 3: TDS performance constraints and limitations / Comparing a linear chirp and stepped chirp / Simulating how noise degrades a system / Comparing real world data with synthetic data
Week 4: TDS system design / Designing a low-cost TDS system with RTL-SDRs and GNU Radio using Python
Week 5: Building a TDS system / Building a low-cost TDS system with RTL-SDRs and GNU Radio
Week 6: Designing a TDS solution / Evaluating designs for your application in Python